## Slide 1
BCMS / TGD-B Vol 1: 2024
Darren Buchanan
Senior Assistant Chief Fire Officer
27/11/24
Aims & Objectives

## Slide 2
Aims & Objectives
BCMS – Validation
Nominated Roles

## Slide 3
Aims & Objectives
BCMS – Validation
2. Development Description

## Slide 4
Aims & Objectives
BCMS – Validation
2. Development Description

## Slide 5
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Objectives:
Changes to the Building Regulations
Implementation/Transitional Arrangements
Highlight the main changes

## Slide 6
Aims & Objectives
Technical Guidance Document B Vol 1: 2024

## Slide 7
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Building Regulations:
S.I. No. 108 of 2024: Published 26 March 2024
Comes into effect 01 May 2025

## Slide 8
Aims & Objectives
Technical Guidance Document B Vol 1: 2024

## Slide 9
Aims & Objectives
Technical Guidance Document B Vol 1: 2024

## Slide 10
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Implementation:

## Slide 11
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Transitional Arrangements:
Planning application lodged before 30 April 2025
Part 8 Notice published before 30 April 2025
Decision with respect to a Strategic Housing Development before 30 April 2025
Fire Safety Certificate granted before 30 April 2025
And Substantially complete by 30 April 2028

## Slide 12
Aims & Objectives

## Slide 13
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Page 2: Alternative Approaches
Article 7(3) of S.I. No. 497 of 1997
Parts A-M
Primary responsibility for compliance with the requirements of the Building Regulations rests with the designers, builders and owners of buildings.
Impact on other Requirements
Appendix G:
  BS 9991, BS 9999, CIBSE Guide E,
  BS 7974:2019

## Slide 14
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 1: Means of Warning and Escape in Case of Fire
Section 2: Internal Fire Spread (Linings)
Section 3: Internal Fire Spread (Structure)
Section 4: External Fire Spread
Section 5: Access and Facilities for the Fire Service
Section 6: Smoke Control
Section 7: Existing Buildings
Section 8: Sprinklers

## Slide 15
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 1: Means of Warning and Escape in Case of Fire

## Slide 16
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 1: Means of Warning and Escape in Case of Fire
Inclusion of :
  Flats / Maisonettes – BS 5588 Part 1
  Offices – BS 5588 Part 11
  Shops & Shopping Centres – BS 5588 Part 11 & 10
  Assembly & Recreation Buildings including Schools – BS 5588 Part 6 & BB100

## Slide 17
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 1: Means of Warning and Escape in Case of Fire
Aligning with other Building Regulations
Part M: Lobbies – Minimum distance between
doors 1.57m, A or C
Previously – 0.5m
Minimum Clear Door Widths – 800mm

## Slide 18
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 1: Means of Warning and Escape in Case of Fire
Aligning with other Building Regulations
Updated Diagrams and more information
Move away from British Standards

## Slide 19
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 2: Internal Fire Spread (Linings)
European Classifications to
I.S. EN 13501-1

## Slide 20
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 3: Internal Fire Spread
(Structure)
Building with topmost floor over 15m:
Compartment Floor meets an External Wall
Sprinkler System
0.9m fire-resisting zone
Projection 0.5m
Recess of 0.5m

## Slide 21
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 3: Internal Fire Spread
(Structure)
Compartment Wall meets an External Wall
No requirement if sprinklered

## Slide 22
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 3: Internal Fire Spread
(Structure)
Cavity Barriers

## Slide 23
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 3: Internal Fire Spread
(Structure)
Cavity Barriers
  Table 16
Ventilation Systems
Building containing an Atrium

## Slide 24
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 4: External Fire Spread

## Slide 25
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 4: External Fire Spread
Fire Spread on
External Walls
Do not achieve the
Rating = full scale test
to BS 8414

## Slide 26
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 4: External Fire Spread
Unprotected Areas and Fire Resistance
Where an external surface does not achieve a reaction to fire classification of Class A – s3, d2, half of that part of the wall should be classified as unprotected

## Slide 27
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 5: Access and Facilities for the Fire Service

## Slide 28
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 5: Access and Facilities for the Fire Service
Internal Fire Mains
One protected shaft [Stair] with a fire main <900m2
45m hose distance from the stair door

## Slide 29
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 5: Access and Facilities for the Fire Service
Design of Firefighting Shafts
  Walls
  Lobbies
  Stairs
  Lift
  Fire mains
  Power supplies

## Slide 30
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 6: Smoke Control
Escape Stairs
Firefighting Shafts
Atria
Basements
Common Corridors – Apartments
Large undivided/Windowless Spaces – Industrial/Storage
Theatres
Shopping Centres

## Slide 31
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 6: Smoke Control
Escape Stairs
Vent must be automatic – either Roof or Wall Mounted
Large Undivided Spaces….
No cubic capacity given, 4000m2

## Slide 32
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 7: Existing Buildings | Section 7.0.1
Where works or a material change of use is carried out on an existing building, the provisions of Sections 1 to 6 should be achieved, where possible.
However, in existing buildings, there may be constraints that would not exist in new buildings. In the case of existing buildings, therefore, some variations of the provisions set out in Sections 1 to 6 of this document may be appropriate. These are set out in this section (Section 7).
Where some of the provisions of Sections 1 to 7 cannot be reasonably achieved, compensating measures (see Para 7.0.2) may be considered. However, the principles of fire safety should be the same as those set out in Sections 1 to 6.

## Slide 33
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 7: Existing Buildings | Section 7.0.1

## Slide 34
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 7: Existing Buildings
Building existed Pre 1992 [32 years]: Material Alterations which require a FSCA
Use the Guides published by the NDFEM
Building Post 1992: Comply with the relevant TGD B at the time
Any new elements must comply with Section 1 – 6. Any existing element to comply with the above and Section 7.

## Slide 35
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 7: Existing Buildings | B1
FD20 Doorsets
750mm door widths
Single stair office building – no lobbies
Escape from a flat to an enclosed yard
External Stair – unlimited height
Existing Stair – construction
Provisions for small premises extended
Café re-heating food only

## Slide 36
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 8: Sprinklers
Flats >15m
Student Accommodation >15m
Residential Care Facility Buildings – bed spaces above ground level
  Extensions:
    a) existing building sprinklered
    b) extension over 400m2 or exceeds ¼ of the floor area of the existing building and bed spaces above ground level
Shopping Centres
Other buildings over 30m
  Not on the list PG 2(b) Hotel, Hostel etc

## Slide 37
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Section 8: Sprinklers
Residential Sprinkler systems – Flats, Residential Care Facility Buildings, Student Accommodation
All other purpose groups – I.S. EN 12845

## Slide 38
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Appendix B – Fire Doors

## Slide 39
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Appendix B – Fire Doors

## Slide 40
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Appendix D: Assessment of Fire Hazard and Associated Life Risk

## Slide 41
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Building Regulation 12:

## Slide 42
Aims & Objectives
Technical Guidance Document B Vol 1: 2024
Thanks for your Attention