## Slide 1
www.southeastenergy.ie
Domestic Retrofit/Grant Funding
01/05/2023
Colm O Mahony
Energy Engineer

## Slide 2: Introduction
Irelands retrofitting targets
Energy and Heat loss in homes
Benefits of retrofitting your home
Homeowner Journey “Roadmap”
Traditional Heating systems & Heat pumps.

## Slide 3
National Housing Targets
www.southeastenergy.ie
40% of Ireland’s energy-related carbon emissions from buildings. Housing/Residential sector responsible for approx. 25%.
Committed to retrofitting 500,000 homes to a B2/Cost Optimal Equivalent BER standard by 2030.
600,000 heat pump installations, with 400,000 to be installed in existing homes
50% of houses in Ireland have a BER rating of D or lower and require significant energy upgrades
Significant upscaling - from a ‘shallow’ to ‘deeper retrofit’ - also providing a “Roadmap”.
Needs to be “Cost Optimal” and “Affordable to all”.

## Slide 4: Energy Loss & Energy use in your home

## Slide 5: Example/Est Costs - (Based on DEAP software analysis)

## Slide 6: Benefits of a Home Energy Upgrade
Savings – Reduce your energy bills (<demand)
Environment – Reduce your emissions and your carbon footprint.
Asset Value – Increase the value of your property.
Thermal Comfort - Warmer, cosier and healthier home. > IAQ. > quality of living.

## Slide 7: Retrofit Principles/Fabric First Approach
Insulate/upgrade building envelope
Limit thermal bridging
Improve Air tightness
Building Ventilation (DCV/MVHR)
Building is “Heat Pump Ready” (Heat loss indicator <2 W/m.K)
Heating system – Heat Pump and fully integrated controls upgrade.
Renewables (Solar PV)

## Slide 8: Homeowner journey – Where to Start
BER Assessment/Advisory Report - Baseline and highlights EE measures to improve the energy efficiency of your home.
Energy Audit Report - “Roadmap” – Specific measures for your home.

## Slide 9: Homeowner journey – Where to Start

## Slide 10: Energy Audit Report - Roadmap

## Slide 11: Energy Audit Report - Roadmap

## Slide 12: Energy Audit Report - Roadmap

## Slide 13: Heating Systems - How do we Heat our Homes?
How everyone heats their home varies from house to house with one or more of the following being used:
Oil Boiler – traditional central heating system that runs on oil
Gas Boiler – traditional central heating system that runs on gas
Stove – runs on solid fuel (some with back boiler for heating / hot water)
Open Fire – runs on solid fuel (some with back boiler for heating / hot water)
Storage Heaters – runs on electricity
Electric Heaters – runs on electricity
Heat Pump – renewable heating system runs on electricity

## Slide 14: Heat Pumps
Extracts heat from one place (Exterior) and transfers it to another (Interior)
Types
Air Source Heat pumps
Ground/Water Source Heat Pump
Exhaust Air Heat Pumps

## Slide 15: What are Heat Pumps?

## Slide 16
www.southeastenergy.ie
Thank You